## Slide 1: PNU RICH Detector R&D Status
Pusan National University
Kwangyoung Kim*, Kunsu Oh, KyungEon Choi
Jongsik Eum, Sanguk Won, Jihye Song, Jiyoung Kim, Bong-Hwi Lim, In-Kwon Yoo

## Slide 2
Contents
Motivation
Concept of PNU RICH v.2.5
Previous results & Beam Test @PAL
Analysis using time difference
Summary and Outlook

## Slide 3
Motivation
Introduction to CBM RICH
CBM interested in QCD phase diagram (deconfinement & chiral PT.)
Prototype of RICH detector is developed in PNU
RICH detector for electron ID (J/Ψ , ρ mesons decay to e+ e-)
Au+Au collision from 2-45 GeV in 2016

## Slide 4
Motivation
Cherenkov radiation
Charged particles travelling
in medium(n>1)
+ velocity of particles(v>c/n)
→ Cherenkov radiation
Emission of photon
by varying dipole momentum
z : electric charge in units of e
Neutral Atom
↑ Dipole
charged particle
Medium (radiator: CO2)
Image courtesy of [Yi Jungyu]

## Slide 5
Motivation
Ring Imaging CHerenkov Detector
Particle ID is possible by measuring a radius of ring
Radius is given by (small angle approximation)
Result of CBM simulation
Image courtesy of [Yi Jungyu]

## Slide 6
Concept of PNU RICH2.5
Prototype concept
RICH detector is consist of 3 parts : Radiator, Mirror, MAPMT
Parameter | PNU-RICH2.5
Radiator length | 1.76 m
Radiator | N2, CO2
Curvature | 3.2 m
Reflexibility | >85% (λ>200 nm)
Ring radius(60MeV) | 36.61mm, 45.96
From J.S Eum’s thesis

## Slide 7
Previous Results
Experiment @PAL (Integrated events)
Simulation for PNU RICH(Integrated events)
60MeV
400MeV
To get high resolution is impossible by inte.
→ To select single event(1 electron) is needed
→ But # of electron ~ in 1 bunch of beam
→ Using a time difference to reduce # of electron

## Slide 8
Beam test @ PAL
Setup of PNU RICH2.5
DITTO, VETO trigger are coincidence to count beam
Size of beam is about 5.5*7 -> Collimator is needed
1.76m
Image courtesy of [Jongsik Eum]

## Slide 9
Beam test @ PAL
Run | Dipole(A) | Mirror
Focus | 13.7 | 5°
Half | 13.7 | half
Unfocus | 14.3 | 0°
Dataset(CO2)
half
5(degree)
0(degree)
R-series
PLANACON
H8500 C03
H8500 C
Position of mirror
Focus = Background + Cherenkov, UnFocus = Background only
Dipole current change the energy of electron beam
  13.7A ->32.6 MeV , 14.3A ->34.0 MeV
The reason using ~30MeV beam is to reduce trigger rate

## Slide 10
Analysis using time difference
Time difference
Time difference = coincidence time() – MAPMT hits()
MAPMTs
-H8500 C03
-H8500 C
-PLANACON
-R-series
ROC Board
(Read-Out
Controller)
Trigger
(Coincidence)
DITTO+VETO
Single has ~816 time difference
in interval -8000 ~ 8000 ns
→ ~816 MAPMT hits each !!!
→ select narrow interval of time difference

## Slide 11
Analysis using time difference
How to separate intervals of time difference
These distribution is separated by 47 intervals(all peak)
Size of Intervals are about 40~90 ns
ADC distribution is normalized by total # of coincident time()
Relatively small peak
also included

## Slide 12
Red:Focus, Green:Half(C03), Blue:Unfocus
Analysis using time difference
Background dominant interval(pedestal only)
All
H8500 C03
H8500 C
PLANACON
R-series
Radius
Interval(-3555,-3525)
Black:Focus-Unfocus

## Slide 13
Red:Focus, Green:Half(C03), Blue:Unfocus
Analysis using time difference
Background dominant interval(unfocus>focus)
All
H8500 C03
H8500 C
PLANACON
R-series
Radius
Interval(-70,-30)
Black:Focus-Unfocus

## Slide 14
Red:Focus, Green:Half(C03), Blue:Unfocus
Signal
Dominant ?
Black:Focus-Unfocus
Analysis using time difference
Signal Dominant interval(focus>half>unfocus)
All
H8500 C03
H8500 C
PLANACON
R-series
Radius
Interval(-200,-110)
~60MeV
Interval(-8000,8000)
All PMT
Remove the Pedestal peak

## Slide 15
Analysis using time difference
Finding specific interval
Red:Focus, Green:Half(C03), Blue:Unfocus
Black:Focus-Unfocus
Interval(-170,-160)
~60MeV
Expected
Radius
~32MeV

## Slide 16
Red:Focus, Green:Half(C03), Blue:Unfocus
Analysis using time difference
Finding specific interval
Black:Focus-Unfocus
Interval(-160,-150)
~60MeV
Expected
Radius
~32MeV

## Slide 17
Red:Focus, Green:Half(C03), Blue:Unfocus
Analysis using time difference
Finding specific interval
Black:Focus-Unfocus
Interval(-150,-140)
~60MeV
Expected
Radius
~32MeV

## Slide 18
Red:Focus, Green:Half(C03),Blue:Unfocus
Analysis using time difference
Finding specific interval
Black:Focus-Unfocus
Interval(-150,-140)
~60MeV
Expected
Radius
~32MeV
Dipole current
=13.6 ~ 14.3A
~23A

## Slide 19
Summary & Outlook
Summary(case of CO2)
In ~32MeV we have to use time difference
Signal dominant interval is (-160,-130)ns
Cherenkov ring will be statistically found
Result of N2 don’t agree with our approach -> more studying
Outlook
Fit Quality cut makes the results more meaningful
Cross-check about N2 & look the ring directly over hundred MeV
→ Confirm the operation of PNU RICH Detector !

## Slide 20
Back up

## Slide 21
Time difference window